MOP

Methode of Procedure

Document Control

| Properties | Remark |
| --- | --- |
| TCN Summary | CCTV Implementation |
| Site ID | ZMS009 |
| Name of Requester: | Mohammed Alhaj |
| Name of PM: | Hazem A Najjar |
| Site Impact (YES/NO) | NO – No Impact |

TCN  Justification and Summary

- TCN request for Site Installation

- Prepare the necessary tools

- There is NO Impact

TCN Risk Details:

- CCTV Installation

Step by step Procedure:

- Call TOC to open the TCN and confirm scope.

- Post access notification on the Access Group.

- Verify no active alarms on site with TOC.

- Access site and confirm on-site team presence.

- The Activity steps as below.

- CCTV  Installation

- NOT ALLOWED to check alarms at site during Installation ( Only Door Alarms to be report).

- Re-validate alarm status with TOC.

- Close TCN with TOC sign-off.

- Capture before/after photos and screenshots of configurations and logs.

Rollback Procedure

- Rollback all actions done at site to the original status of the site.

- Inform TOC of any unexpected issues.

- Revert any changed configurations outside the approved scope.

- Do not touch any equipment not covered by this TCN.