## Sheet1
Line | Item | Description | Category Name | UOM | Price
1 | SMART-TWR-001 | Supply of RMS IOT controller (iSense Violet/ iSense Violet+) W/L Gateway + Panel + Router + Dual SIMs capability including all accessories and instlation materials . ( all needed accessories such as RS 485 or analoge SPD, 19’’ Rack | C-CRS-ALSM-12011050 | Each | 3710
2 | SMART-TWR-002 | Supply of RMS IOT controller ( iSense Green/iSense Green+) W/L Gateway + Panel + Router + Dual SIMs capability including all accessories and instlation materials. ( all needed accessories such as RS 485 or analoge SPD, 19’’ Rack | C-CRS-ALSM-12011050 | Each | 3258
3 | SMART-TWR-003 | Supply of RMS IOT controller ( iSense Vega) W/L Gateway + Panel + Router + Dual SIMs capability including all accessories and instlation materials .( all needed accessories such as RS 485 or analoge SPD, 19’’ Rack | C-CRS-ALSM-12011050 | Each | 2646
4 | SMART-TWR-004 | Supply of External DC power supply for long distance Alarms to ensure contact alarms can be triggered from long-distance sources(Input Supply 48V DCOutput–Load 12V DC2.5A) including all accessories such as RS 485 or analoge SPD, 19’’Rack | C-CRS-ALSM-12011050 | Each | 336.09
5 | SMART-TWR-005 | Supply of AC-DC converter 5w/48v for RMS IOT controller power up. including all needed accessories such as RS 485 or analoge SPD, 19’’ Rack ,, RMS enclosure cabling , wiring , ..etc | C-CRS-ALSM-12011050 | Each | 450
6 | SMART-TWR-006 | Supply of shading Encloure for outdoor RMS IOT controller. | C-CRS-ALSM-12011050 | Each | 929
7 | SMART-TWR-007 | Supply of Dry contact alarm for controller (48 alarm) including all accessories and instlation materials . | C-CRS-ALSM-12011050 | Each | 1237.04
8 | SMART-TWR-008 | Supply of Alarm Multiplexer including all accessories and instlation materials . | C-CRS-ALSM-12011050 | Each | 1061
9 | SMART-TWR-009 | Supply of AC Availability sensor including all accessoriesandinstlation materials . | C-CRS-ALSM-12011050 | Each | 550
10 | SMART-TWR-010 | Supply of DC Availability sensor including all accessories and instlation materials . | C-CRS-ALSM-12011050 | Each | 619.57
11 | SMART-TWR-011 | Supply of DC Battery bank monitoring sensor including all accessories and instlation materials . | C-CRS-ALSM-12011050 | Each | 1061
12 | SMART-TWR-012 | Supply of Smart Fuel level sensor 2m including all accessories and instlation materials . | C-CRS-ALSM-12011050 | Each | 873.03
13 | SMART-TWR-013 | Supply of Smart Temperature/Humidity sensor including all accessories and instlation materials . | C-CRS-ALSM-12011050 | Each | 340
14 | SMART-TWR-014 | Supply of Smart Door sensor including all accessories and instlation materials . | C-CRS-ALSM-12011050 | Each | 84.49
15 | SMART-TWR-015 | Supply of Smart Motion Detector Sensor - Intruder Detection including all accessories and instlation materials . | C-CRS-ALSM-12011050 | Each | 195
16 | SMART-TWR-016 | Supply of Siren & Strobe Sensor including all accessories and instlation materials . | C-CRS-ALSM-12011050 | Each | 330
17 | SMART-TWR-017 | Supply of Smart Smoke Detection Sensor including all accessoriesandinstlation materials . | C-CRS-ALSM-12011050 | Each | 190
18 | SMART-TWR-018 | Supply of Water Leak/Liquid level Sensor including all accessoriesandinstlation materials . | C-CRS-ALSM-12011050 | Each | 165
19 | SMART-TWR-019 | PM, Installation, commissioning , integration, Alarm arrangment , and testing of any number of RMS controllers components and its accessories. | C-CRS-ALSM-12011050 | Site | 3000
20 | SMART-TWR-020 | PM, Installation, commissioning , integration, Alarm arrangment , and testing of any number of sensors components and its accessories . | C-CRS-ALSM-12011050 | Site | 2750
21 | SMART-TWR-021 | PM, Installation, commissioning , integration, Alarm arrangment , and testing of up to Three (3) sensors sensors components and its accessories . | C-CRS-ALSM-12011050 | Site | 1750
22 | SMART-TWR-022 | PM, Installation, commissioning , integration, Alarm arrangment , and testing of one (1) sensor component and its accessories . | C-CRS-ALSM-12011050 | Site | 1200
23 | SMART-TWR-023 | Supply of smart AC Power Meter including all accessories and instlation materials including intlation kit , CTs, Panel and CB. | C-CRS-ALSM-12011050 | Each | 1670.8667
24 | SMART-TWR-024 | PM, Installation, commissioning , integration, Alarm arrangment , and testing of any number of Smart meter (SM) components and its accessories . | C-CRS-ALSM-12011050 | Site | 1550
25 | SMART-TWR-025 | Supply of Smart Lock + stainless steel protection for shelter (N200 to used with smart lock for fence or shelter (N319) or latest version) . | C-CRS-ALSM-12011050 | Each | 2545
26 | SMART-TWR-026 | Supply of Smart Lock for fence (N319) or latest version) without stainless steel protection. | C-CRS-ALSM-12011050 | Each | 1970
27 | SMART-TWR-027 | Supply of Smart lock for ODU (N532or similar model, or latest version). | C-CRS-ALSM-12011050 | Each | 1611
28 | SMART-TWR-028 | Supply of Bluetooth Keys (N110 or latest version ). | C-CRS-ALSM-12011050 | Each | 519
29 | SMART-TWR-029 | PM, Installation, commissioning of Smart Locks for shelter, Fence , ODUs, and or ODU Handel (Outdoor units) | C-CRS-ALSM-12011050 | Site | 900
30 | SMART-TWR-030 | Supply of Master key programming device. | C-CRS-ALSM-12011050 | Each | 1446
31 | SMART-TWR-031 | Supply of PM, Installation, commissioning of Master key programming device. | C-CRS-ALSM-12011050 | Site | 247
32 | SMART-TWR-032 | Supply of Programming Master Bluetooth Keys. | C-CRS-ALSM-12011050 | Each | 1470
33 | SMART-TWR-033 | Smart access desktop programers. | C-CRS-ALSM-12011050 | Each | 4323
34 | SMART-TWR-034 | Smart lock ODU handle. | C-CRS-ALSM-12011050 | Each | 183
35 | SMART-TWR-035 | Site Dismantling & relocation to destination site for nay number of Smart towers components. | C-CRS-ALSM-12011050 | Site | 2400
36 | SMART-TWR-036 | Live Load transfer service at site level to ensure service continutiy during Smart meter installation as reuired . | C-CRS-ALSM-12011050 | Site | 2250
37 | SMART-TWR-040 | Supply of Smart meter standalone wireless Gateway with Dual Sim including all accessories ,installation materials , and kit | C-CRS-ALSM-12011050 | Each | 1466
38 | SMART-TWR-045 | Supply & Installation of Cat6 Cables including accessories , Flexible pipes and ducting materials for RMS alarms (0-25m) | C-CRS-ALSM-12011050 | Each | 632.5
39 | SMART-TWR-046 | Supply & Installation of Cat6 Cables including accessories , Flexible pipes and ducting materials for RMS alarms (25m - 50m) | C-CRS-ALSM-12011050 | Each | 805
40 | SMART-TWR-047 | Supply & Installation of Cat6 Cables including accessories , Flexible pipes and ducting materials for RMS alarms (50m – 75m) | C-CRS-ALSM-12011050 | Each | 977.5
41 | SMART-TWR-048 | Supply & Installation of Cat6 Cables including accessories , Flexible pipes and ducting materials for RMS alarms (75m – 100m) | C-CRS-ALSM-12011050 | Each | 1265
43 | SMART-TWR-049 | Supply & Installation of Alarms Termination Box including pipes & accessories for RMS alarms . | C-CRS-ALSM-12011050 | Each | 747.5
44 | SMART-TWR-050 | Supply of Smart Lock, Profile-double cylinder eCLIQ N531 | C-CRS-ALSM-12011050 | Each | 2817.5